THE COPPERBELT UNIVERSITY

SCHOOL OF INFORMATION AND COMMUNICATION TECHNOLOGY

COMPUTER SCIENCE DEPARTMENT

CS 400: PROJECT SEMINARS

An Algorithmic Framework for Building Energy Management: Integrating IQR-Based Anomaly Detection and Grid-

Search Optimized SARIMA

(Literature Review)

Submitted by:

Luckson Musyani (22998143)

Supervised by:

Dr. George Mufungulwa

22nd May 2026

Contents	Page

2.1 Introduction	3

2.2 Related Work	4

2.2.1 Green Buildings and Energy Performance	4

2.2.2 Energy Usage Patterns in Buildings	4

2.2.3 Time Series Forecasting in Energy Management	5

2.2.4 SARIMA in Building Energy Forecasting	6

2.2.5 Automated Data Preprocessing and Outlier Detection	7

2.2.6 Hyperparameter Optimization and Grid Search	8

2.2.7 Model Evaluation and Forecast Accuracy	9

2.2.8 Integration with Energy Optimization	10

2.2.9 Integrated Pipelines	10

2.3 Previous Systems	10

2.3.1 Schneider Electric EcoStruxure Building Operation	11

2.3.2 Johnson Controls Metasys	12

2.3.3 Honeywell Forge for Buildings	13

2.3.4 Siemens Desigo CC	13

2.4 Lessons Learnt from the Review	15

2.5 Critique of Existing Work	15

2.6 Conclusion	16

References	17

CHAPTER 2: LITERATURE REVIEW

## 2.1 Introduction

The escalating global demand for energy-efficient and sustainable built environments has driven a significant transformation in Building Energy Management Systems (BEMS), evolving from conventional supervisory control toward more complex, data-driven infrastructures (Park, 2025). Buildings account for approximately 40% of global energy consumption and contribute substantially to greenhouse gas emissions, reinforcing the need for improved operational efficiency. A central challenge in this domain is the Building Energy Performance Gap (BEPG), defined as the discrepancy between predicted energy consumption during the design phase and actual performance during operation (Zheng, 2024). This gap remains a persistent issue in both developed and developing regions, including institutional and industrial energy systems in Zambia, Copperbelt Province, particularly high-density facilities such as the Infratel Tier III Data Center in Kitwe, where operational constraints and limited real-time monitoring intensify inefficiencies.

This discrepancy is largely attributed to the complexity of building systems, where components such as HVAC, lighting, and electrical infrastructure are often managed independently, resulting in inefficiencies that are not fully captured in design-stage models (Martucci, 2025). In such environments, constrained monitoring infrastructure, continuous high-load operations, and exposure to grid instability contribute to fragmented energy visibility and reactive rather than predictive energy management. To address these challenges, data-driven approaches, particularly time-series forecasting techniques, have been widely adopted for energy prediction and demand management. However, their effectiveness is often undermined by anomalies arising from sensor errors, environmental variability, and irregular operational patterns. Methods such as ARIMA, LSTM, and Random Forest have been explored to model these dynamics (Gong, 2025), yet their deployment remains limited by weak integration between preprocessing and forecasting components.

This section critically reviews existing approaches in building energy management, focusing on forecasting techniques, anomaly detection methods, and integrated system architectures. Each study is examined in terms of its methodology, data handling processes, and level of system integration. The review identifies limitations in the alignment of preprocessing, forecasting, and optimization components within existing frameworks, highlighting the need for more cohesive approaches in building energy management research.

## 2.2 Related Work

### 2.2.1 Green Buildings and Energy Performance

Recent scholarship emphasizes that achieving climate neutrality in the built environment requires integrated strategies combining renewable energy adoption and efficiency improvements (Zheng et al., 2024). (Huda 2025) demonstrated that advancements in building envelopes and sustainable materials, including green concrete, can significantly reduce energy consumption, with reported reductions reaching 50.54%. However, the study primarily relies on simulation-based assessments that do not fully capture discrepancies observed during actual building operation. Similarly, (Fantozzi and Rocca 2023) identified a persistent performance gap between predicted and actual energy use, attributing it to occupant behavior and perceptual factors not captured in design-stage models. These studies highlight limitations in conventional modeling approaches that fail to incorporate behavioral variability within energy performance evaluation.

### 2.2.2 Energy Usage Patterns in Buildings

The increasing complexity of building energy systems due to urbanization has driven research into temporal consumption patterns, including seasonality and trend variations (Himeur et al., 2024). Utama et al. (2025) applied ensemble learning with sliding window techniques to handle abrupt changes in energy usage patterns. While effective in capturing short-term variations, such approaches generally assume that consumption behavior remains statistically consistent under normal conditions. A key limitation is the insufficient detection of subtle anomalies embedded within routine operational data, which may distort long-term modeling accuracy. This indicates a gap in methods capable of distinguishing latent irregularities from normal variability in energy consumption data.

Table 1 Categorization of Building Energy Consumption Patterns

| Seasonal | Meteorological variables (Temp, Humidity) | Monthly/Quarterly | Requires seasonal differencing and lag capture |
| --- | --- | --- | --- |
| Weekly | Academic/Work schedules, Weekend shifts | 7-Day cycles | Necessitates high seasonal order (S = for hourly) |
| Diurnal | Day/Night cycles, Occupancy density | 24-Hour cycles | Influences peak shaving and load shedding strategies |
| Institutional | Semester breaks, Budgetary cycles, Holidays | Variable/Event-driven | Leads to contextual anomalies if not modeled as exogenous |
| Non-Linear Spikes | Equipment malfunctions, Power surges | Minutes/Seconds | Requires point-based anomaly detection (IQR/Z-Score) |

### 2.2.3 Time Series Forecasting in Energy Management

The shift toward short-term load forecasting (STLF) has introduced a range of statistical and machine learning architectures aimed at improving predictive accuracy in energy systems. Traditional models such as ARIMA are widely recognized for their transparency and interpretability, while deep learning approaches like Long Short-Term Memory (LSTM) networks are favored for their ability to capture complex non-linear temporal dependencies. Energy forecasting literature has therefore concentrated heavily on short-term prediction models due to their direct applicability in building energy optimization and control contexts (Utama et al., 2025). Classical statistical techniques, including ARMA and ARIMA, remain widely applied for modeling non-stationary energy consumption patterns, particularly where interpretability is required (Huda, 2025). In contrast, recent studies increasingly explore hybrid frameworks that combine statistical rigor with machine learning flexibility to enhance forecasting robustness under uncertainty (Ahmad et al., 2025). Despite these advances, a persistent methodological divide remains between interpretable but less flexible statistical models and highly accurate but opaque machine learning models. This separation highlights an unresolved gap in unified forecasting frameworks that simultaneously balance interpretability, robustness, and predictive performance.

Table 2 Comparison of Energy Forecasting Model Architectures

| Model Type | Example Model | Interpretability | Data Requirements | Compute Power | Strengths | Limitations |
| --- | --- | --- | --- | --- | --- | --- |
| Statistical Models | SARIMA | High | Low to Moderate | Low | Seasonal modeling, transparent | Poor for non-linear patterns |
| Machine Learning | Random Forest | Medium | Moderate to High | Moderate | Handles non-linearity | Limited interpretability |
| Deep Learning | LSTM | Low | High to large datasets | High | Captures complex patterns | High cost, black-box |

### 2.2.4 SARIMA in Building Energy Forecasting

The Seasonal Autoregressive Integrated Moving Average (SARIMA) model remains a widely adopted approach in energy forecasting due to its strong mathematical formulation and ability to capture seasonal and cyclical patterns in structured time series data (Park et al., 2021). Empirical evidence suggests that SARIMA can perform competitively against more complex deep learning models, such as Gated Recurrent Units (GRU), particularly in environments characterized by stable, well-structured, and limited datasets (Andoh et al., 2024). In some cases, it has been shown to achieve reliable forecasting accuracy in institutional electricity demand prediction, with reported Mean Absolute Percentage Error (MAPE) values of around 12%, demonstrating its effectiveness in modeling daily and weekly consumption cycles (Iatsyshyn et al., 2025). Its general formulation can be expressed as: SARIMA

p, d, qX(P,D,Q)s

Figure 0—1 Mathematical Formulation of the SARIMA Model

which extends ARIMA by explicitly incorporating seasonal autoregressive and moving average components.

Despite these advantages, SARIMA performance is highly sensitive to both parameter specification and underlying assumptions of stationarity. Park et al. (2021) highlight that the presence of outliers, particularly point anomalies in training data, can significantly distort model behavior by biasing both autoregressive and moving average terms. As a result, many implementations fail under noisy or real-world conditions where data irregularities are common. This exposes a structural limitation: SARIMA cannot operate effectively as a standalone forecasting mechanism in dynamic energy environments without prior data conditioning or integrated anomaly detection layers to ensure data integrity and stability.

### 2.2.5 Automated Data Preprocessing and Outlier Detection

The Interquartile Range (IQR) method is widely used in energy data preprocessing due to its simplicity and robustness in identifying statistical outliers without distributional assumptions (Mohammed et al., 2024). Extensions of this work introduce hybrid learning-based approaches where anomaly detection is embedded within neural architectures to improve sensitivity to contextual faults in energy systems (Park et al., 2025). Further studies explore alternative mechanisms such as vision-based and pattern recognition techniques to capture non-statistical irregularities in load behavior (Liu et al., 2024). Across these studies, anomaly detection is generally implemented as a preprocessing step detached from forecasting models, creating a structural separation between data cleaning and prediction. This separation reduces model adaptability since forecasting systems are not continuously informed by evolving data quality conditions. The methodological divergence between lightweight statistical methods and complex learning-based detectors reflects a trade-off between interpretability and adaptability. As a result, existing approaches struggle to maintain consistent performance under dynamic operational environments where anomalies evolve over time. This motivates a shift toward tighter coupling between anomaly detection and predictive workflows, where preprocessing is not isolated but functionally aligned with forecasting pipelines to improve robustness and data responsiveness (Mohammed et al., 2024; Park et al., 2025; Liu et al., 2024).

Table 3 Technical Evaluation of Anomaly Detection Methodologies

| Methodology | Anomaly Type Target | Advantages | Disadvantages |
| --- | --- | --- | --- |
| IQR (Statistical) | Point anomalies, outliers | Simple, non-parametric, robust to extreme values | Static thresholds fail on seasonality |
| Z-Score | Global outliers | Fast calculation, interpretable | Sensitive to mean-skewing outliers |
| Isolation Forest | Point and contextual | Unsupervised, efficient for large datasets | Requires tuning of contamination rate |
| Bollinger Bands | Volatility-based spikes | Strong visual performance, adapts to moving average | Prone to false positives in high-volatility periods |
| Dual-Stream | Abrupt and gradual degradation | Multi-scale coverage (short/long term) | High implementation complexity |

### 2.2.6 Hyperparameter Optimization and Grid Search

The The efficacy of models such as SARIMA depends heavily on the precise tuning of hyperparameters (p,d,q)×(P,D,Q)s(p, d, q) \times (P, D, Q)_s(p,d,q)×(P,D,Q)s​ (Andrianajaina et al., 2022). Manual parameter selection is inefficient for high-frequency sensor data, often resulting in suboptimal configurations and increased forecasting error. To address this limitation, automated optimization techniques are employed to systematically explore the parameter space. Grid Search, in particular, is a deterministic and exhaustive method that evaluates model performance across all predefined combinations within a constrained search space (Andrianajaina et al., 2022).

To systematically select the optimal parameter combination, the Grid Search engine evaluates candidate configurations using the Akaike Information Criterion (AIC):

AIC = 2k - 2lnL

where k represents the number of estimated parameters and L^\hat{L}L^ is the maximum value of the likelihood function. The engine minimizes AIC to balance goodness-of-fit against model complexity and to prevent overfitting. While Bayesian Optimization (BO) is more efficient for high-dimensional search spaces due to its exploration–exploitation trade-off, Grid Search remains particularly suitable for SARIMA, where the parameter space is small, finite, and well-bounded (Park et al., 2021). Existing studies have shown that proper hyperparameter tuning can reduce forecasting error by 16–17%, although most implementations fail to embed this process into a continuous operational pipeline.

From a computational perspective, Grid Search introduces iterative overhead as each candidate configuration is evaluated over the historical dataset. The time complexity scales deterministically as O(N⋅∏Mi)O(N \cdot \prod M_i)O(N⋅∏Mi​), where NNN is the length of the historical dataset and MiM_iMi​ represents the bounded search space of each hyperparameter. Given that classical SARIMA configurations are typically constrained within small integer ranges (commonly 0–2 for each parameter), the resulting search space remains mathematically limited. This bounded complexity ensures that exhaustive evaluation is computationally feasible in localized environments and can be deployed on edge or on-premise infrastructure, such as the Infratel Tier III Data Center in Kitwe, without the risk of combinatorial explosion associated with high-dimensional deep learning optimization problems.

### 2.2.7 Model Evaluation and Forecast Accuracy

Forecasting performance in energy systems is commonly evaluated using error-based metrics such as Mean Absolute Error (MAE) and Root Mean Square Error (RMSE) (Park et al., 2025). Machine learning models, including Random Forest, have demonstrated strong predictive performance with high R² values in certain studies (Liang & Qiu, 2024). Recent research has also introduced anomaly-sensitive evaluation approaches to assess model robustness under irregular conditions (Ahmad et al., 2025). However, most evaluation frameworks remain focused on statistical accuracy alone, without incorporating operational reliability or system-level performance implications. This indicates a gap in evaluation methodologies that reflect real-world energy management requirements.

### 2.2.8 Integration with Energy Optimization

Building Energy Management Systems (BEMS) integrate subsystems such as HVAC, lighting, and electrical distribution to improve operational efficiency (Johnson Controls, 2025; Siemens, 2025). While much of the literature focuses on the accuracy of the underlying models, the ultimate value of a BEMS lies in shifting from passive prediction to active decision-making and optimization. Advanced optimization techniques, including genetic algorithms and rule-based controls, have been applied to improve energy allocation and demand response strategies (Gong, 2025). However, in many intelligent BEMS frameworks, forecasting and optimization are treated as separate components; optimization modules often operate under the "perfect information" fallacy, assuming access to ideal forecast inputs (Himeur et al., 2024). This separation introduces a critical vulnerability: significant sensitivity to forecasting errors in practical applications like HVAC scheduling or smart grid load balancing (Zheng et al., 2024). For a framework to be truly "algorithmic," it must move beyond a standalone SARIMA study. It requires a tightly coupled architecture where forecasting uncertainty directly informs downstream automated energy controls, ensuring that energy scheduling remains robust even when sensor data is volatile or non-stationary.

### 2.2.9 Integrated Pipelines

Recent research has introduced Digital Twin-based frameworks for monitoring, simulation, and predictive maintenance in building energy systems (Park et al., 2025). These systems support adaptive decision-making by integrating data-driven models with operational feedback loops (Gong, 2025). However, most implementations are highly customized and require significant manual configuration for different building environments. This limits scalability and generalizability across diverse facilities. The literature therefore indicates a gap in standardized, modular frameworks capable of integrating forecasting and anomaly-aware preprocessing within a unified energy management pipeline.

## 2.3 Previous Systems

Commercial applications for building energy management vary in their approach to forecasting and anomaly detection. Below is a detailed evaluation of current industry-leading systems based on technical documentation.

### 2.3.1 Schneider Electric EcoStruxure Building Operation

EcoStruxure Building Operation is a scalable, open IoT solution designed to connect hardware, software, and services over an Ethernet IP backbone (Schneider, 2024). The most recent iteration, EcoStruxure Foresight Operation, is a unified AI-powered platform that unifies energy, power, and building domains (Martucci, 2025).

Figure 0—2 Schneider Electric EcoStruxure Building Operation Interface

Platform: Microsoft Windows (10, 11, Server 2016 to 2025); Enterprise Central architecture (Schneider, 2024).

Purpose: To eliminate blind spots and simplify control, providing actionable insights into performance, efficiency, and reliability.

Key Strengths: Resolves interrelated electrical and mechanical issues 90% faster via AI diagnostics

Key Limitations: Requires complex initial configuration.

Trial License Details: 30-day free trial package for secure connect features; demo licenses are local and bound to the computer.

Target Users: Facility teams in mission-critical environments like data centers and hospitals.

URL:https://www.se.com/uk/en/product-range/62111-ecostruxure-building-operation/#overview

### 2.3.2 Johnson Controls Metasys

Metasys is a time-tested Building Automation System (BAS) that scales from single buildings to large campuses (Pfisterer, 2025). Metasys 15.0 introduced unmatched scalability and instant energy intelligence.

Figure 0—3 Johnson Controls Metasys 15.0 Energy Intelligence Dashboard

Platform: Browser-centric operation; Manageable from any device without special plugins (Johnson Controls, 2025).

Purpose: Optimize daily building operations, increase uptime, and accelerate decarbonization through data-driven automation.

Key Strengths: Supports up to 1,000 IP devices and 50,000 objects per server; includes "Fault Triage" for prioritized issue resolution.

Key Limitations: Relies on standardized ASHRAE G36 sequences which may lack flexibility for non-standard configurations

Trial License Details: Trial licenses generally expire 90 days after activation, with a 14-day emergency grace license available

Target Users: Contractors, facility managers, and university campus operators.

URL: https://www.johnsoncontrols.com/building-automation-and-controls/metasys

### 2.3.3 Honeywell Forge for Buildings

Honeywell Forge Performance+ and Sustainability+ suites are cloud-based platforms designed for portfolio-level visibility and control (Honeywell, 2025).

Figure 0—4 Honeywell Forge Sustainability+ Portfolio Visibility

Platform: SaaS (Software as a Service) with native mobile apps for iOS and Android.

Purpose: Track and control siloed energy and carbon data; provide automated GHG reporting and predictive maintenance.

Key Strengths: Leverages ML to accommodate occupancy data and energy pricing for maximized savings; automated fault detection and diagnostics.

Key Limitations: Requires specific connectivity modules to function; SaaS pricing can be costly for multi-site portfolios.

Trial License Details: 30-day free trial available for visitor management; personalized demos required for energy modules.

Target Users: Commercial building owners, industrial sectors, and airport operators.

URL: https://www.honeywell.com/us/en/solutions/honeywell-forge

### 2.3.4 Siemens Desigo CC

Figure 0—5 Siemens Desigo CC Integrated Management Platform

Desigo CC is an integrated building management platform designed for high-performing buildings.

Platform: Modular architecture supporting Windows; Flex Client for browser-based mobile access.

Purpose: Centralize management of HVAC, lighting, fire safety, and security to reduce operational costs.

Key Strengths: Meets 21CFR Pharma requirements; "Green Leaf" signs display energy efficiency status in real-time.

Key Limitations: License server dependency can cause failure if internet connection is interrupted for more than 5 minutes.

Trial License Details: 12-month demo licenses available for engineering; 30-minute demo mode for projects without valid licenses.

Target Users: Labs, data centers, university campuses, and hospitals.

URL: https://www.siemens.com/en-us/products/desigo/cc/

The evaluation of these systems reveals that while each achieves high performance individually, they fail as integrated, algorithmic-first solutions. Most platforms treat "Fault Detection" as a diagnostic post-mortem rather than a proactive filter for forecasting. Proprietary AI modules are often "black boxes" that building managers cannot customize. There is a critical need for an open, unified algorithmic framework that combines robust statistical preprocessing (IQR) with transparent, optimized forecasting (SARIMA).

## 2.4 Lessons Learnt from the Review

The review of contemporary literature and previous systems leads to several critical technical insights. Data quality is the foundational requirement for accuracy; even advanced forecasting models fail if training data is contaminated with operational anomalies. Integrating IQR-based detection is a mathematical necessity for model stability (Mohammed, 2024). Additionally, seasonality is a dominant feature in building energy data. Models like SARIMA that inherently understand seasonality often outperform complex deep learning models when data availability is limited (Park, 2021).

Furthermore, automation of tuning is essential given the high-frequency nature of building sensors. Grid-search algorithms must be automated to allow models to adapt to building retrofits or seasonal shifts (Yang, 2021). Operational resilience requires integration; systems must coordinate across domains to avoid peak demand spikes and equipment damage (Kumar, 2025). Finally, interpretability remains a key driver for adoption. Facility managers require transparent, traceable records like those provided by SARIMA and IQR to establish operational trust.

## 2.5 Critique of Existing Work

A critical evaluation of existing work reveals methodological weaknesses. Current literature is dominated by studies using static datasets rather than real-time operational feeds, creating a gap in understanding how models handle sensor drift (Park, 2025). Additionally, many studies treat outlier detection as a one-time cleaning step. In practice, building dynamics are fluid; an outlier in January might be standard behavior in July. Static preprocessing fails to capture this drift (Liu, 2024).

There is also a lack of rigorous comparison between "grid search" and "random search" in the context of SARIMA for buildings. Most researchers select grid search by default without addressing its computational bottleneck for large multi-zone buildings (Abba, 2024). The most significant critique remains the synthesis gap: researchers continue to develop isolated improvements in forecasting or detection, but the literature lacks a unified, end-to-end algorithmic framework that integrates these components for system-level efficiency.

## 2.6 Conclusion

This chapter has presented a comprehensive review and critical analysis of existing research in building energy management systems. The discussion examined key themes, including the building energy performance gap, advancements in time-series forecasting techniques, anomaly detection methods, and the evolution of integrated energy management platforms. Collectively, these studies demonstrate significant progress in improving energy efficiency and predictive capabilities within the built environment.

However, the review also reveals persistent limitations across the literature. Existing approaches frequently address forecasting, anomaly detection, and system optimization as separate components, resulting in fragmented solutions with limited interoperability. In addition, challenges related to data quality, model adaptability, and system scalability remain insufficiently addressed. These gaps highlight the absence of cohesive frameworks that effectively align preprocessing, predictive modeling, and system-level integration.

The synthesis of these findings establishes a clear research gap within the current body of knowledge. This gap provides the foundation for the subsequent methodological development presented in the following chapters, where approaches to improving integration and robustness in building energy management systems are explored.

# References

Abba, A. (2024). Optimization strategies for building energy models.

Ahmad, A., et al. (2025). Hybrid functional time series (FTS) forecasting framework for energy markets.

Andoh, R., et al. (2024). Energy consumption forecasting models for smart grids: A state-of-the-art review.

Andrianajaina, H., et al. (2022). Grid search approach for SARIMAX hyperparameter optimization in photovoltaic modeling. Global Journal of Energy Technology Research Updates.

CIM. (2025). Building energy management systems (BEMS) for efficiency.

Fantozzi, F., & Rocca, M. (2023). Occupant satisfaction as a measure of Green Building Performance.

Gong, J. (2025). Building energy management model integrating rule-based control and genetic algorithm.

Himeur, Y., et al. (2024). Understanding time-series building energy data: A review of challenges.

Honeywell. (2021). Honeywell Forge for industrial and manufacturing buildings.

Honeywell. (2025). Honeywell Forge Sustainability+ for buildings: Carbon and energy management.

Huda, N. M. (2025). ARIMA modeling with iterative outlier detection for environmental forecasting.

Johnson Controls. (2025). Metasys: The secure and intuitive building automation platform.

Kumar, M. (2025). EcoStruxure Foresight Operation: Unifying energy and building domains.

Liang, Y., & Qiu, Z. (2024). Forecasting thermal energy demand: A multimodal approach using Random Forest and SARIMA.

Liu, Y., et al. (2024). Vision-based outlier detection (VOD) for building energy data.

Iatsyshyn, A., et al. (2025). Forecasting of national electricity demand using SARIMA models: A diagnostic analysis. Science and Technology for Energy Transition.

Martucci, B. (2025). Schneider Electric debuts unified AI-powered platform for buildings.

Mohammed, H. H., et al. (2024). Regional energy forecasting with IQR-based anomaly detection.

Park, H., et al. (2021). Optimized SARIMA model based on quantile outlier detection.

Park, H., et al. (2025). Digital twin-enabled framework for building monitoring and anomaly detection.

Pfisterer, K. (2025). Johnson Controls Metasys 15.0: Unmatched scalability and resiliency.

Schneider Electric. (2024). EcoStruxure Building Operation specifications and requirements.

Siemens. (2021). Desigo CC: Integrated building management platform brochure.

Siemens. (2025). Desigo CC for high-performing buildings and critical environments.

Utama, P. H. K., et al. (2025). Adaptive ensemble learning for building energy consumption prediction.

Yang, Z. (2021). Regional energy consumption prediction based on SARIMAX-LSTM model.

Yuan, H., et al. (2025). BuildingGym: A flexible framework for reinforcement learning in energy management.

Zheng, X., et al. (2024). Review of the building energy performance gap: Magnitude, causes, and solutions.