THE COPPERBELT UNIVERSITY

SCHOOL OF INFORMATION AND COMMUNICATION TECHNOLOGY

COMPUTER SCIENCE DEPARTMENT

CS 400: PROJECT SEMINARS

Time Series Forecasting for Optimized Green Building Energy Usage

(Abstract)

Submitted by:

Luckson Musyani (22998143)

Supervised by:

Dr. George Mufungulwa

09th Jan 2026

## Abstract

This project aims to forecast short-term energy demand for a sustainable building, defined as an energy-efficient structure with optimized HVAC and lighting systems, to support operational planning and resource management. The historical data used in this study consists of daily building energy consumption measured in kilowatt-hours (kWh), collected over a defined time period and preprocessed to identify consumption patterns and correct anomalies. Time-series analysis techniques are applied, including stationarity testing using the Augmented Dickey-Fuller (ADF) test and modeling with an AutoRegressive Integrated Moving Average (ARIMA) framework to capture trends, seasonality, and autocorrelation. The forecasted output of the model is a 30-day prediction of daily energy demand in kilowatt-hours (kWh), accompanied by 95% confidence intervals to quantify uncertainty for decision-making. Results show clear predicted energy consumption trends over the forecast horizon, identifying potential peak load periods and daily variations relevant to operational planning. This project demonstrates that ARIMA-based forecasting can effectively inform facility managers and decision-makers, enabling evidence-based energy management strategies that improve operational efficiency, reduce energy waste, and support sustainable building management.

Keywords: short-term energy demand forecasting; sustainable buildings; building energy consumption; time-series analysis; ARIMA model; energy efficiency; HVAC optimization.